**Basic Imaging Practical Lab BVORAD-207**

1. Test to check the x-ray films and screen contact in the cassette

2. Test to check light leakage in the cassette.

3. To check the effect of safe light on exposed as well as unexposed x-ray film